## Sheet1
Status | Column headings | Notes
Required | SiteID | character (numeric or text)
| Date Time | “Date Time” (one field) OR “Date” AND “Time” (in 2 separate fields) OR all 3 (in 3 fields); prefer 24H time (military); YYYY-MM-DD is recommended but not required
As available | Air Temp C
Water Temp C
| Air BP psi | barometric pressure (BP)
| Water P psi | water pressure (P)
| Sensor Depth ft | differs from Water Level in that it is not generated with a reference water level measurement
| Water Level ft | generated with a reference water level (which relates water level to a fixed point)
Discharge ft3/s
Conductivity uS/cm
DO mg/L
| DO adj mg/L | DO adjusted for salinity (HOBOware)
| DO pctsat % | % saturation
pH SU
Turbidity NTU
Chlorophylla g/cm3
Optional | Air LoggerID | unique identifier (e.g., serial number)
Water LoggerID
| Water RowID | sequential number (1=first measurement; largest number = last measurement)
Air RowID
| Discrete Water Temp C | Discrete (in situ) measurements can be entered into the row of the CSV file where the date/time of the sensor measurement most closely matches with the date/time of the field measurement; the data point(s) will be overlaid onto the time series plot in the QC report so that the user can visually check the correspondence between the two. Discrete entries can be made for any of the parameters listed above (not just temperature and water level)
Discrete Air Temp C
Discrete Water Level ft